**Polyspike**

**Vial Access Spike**

* Vented spike for withdrawing fluids from vials or semi-rigid containers
* Reduces contamination through safety snap cap
* Available with green, blue & red color caps
* PVC free, DEHP free, Latex Free

|  |  |  |  |
| --- | --- | --- | --- |
| **Polyspike Variants** | Fluid Filter | Air Filter | Nature of Use |
| **Polyspike R** | 5µ | 0.1µ | Chemotherapeutic Drugs |
| **Polyspike B** | 5µ | 0.1µ | Normal Drugs |
| **Polyspike G** | NA | 0.1µ | Normal Drugs |